## Brocade_Cables
Cables We Need:
| 10G-SFPP-TWX-0101 | 3 | round up to 5 | Extra Cables We Have:
| 10G-SFPP-TWX-0301 | 27 | round up to 30 | 10G-SFPP-TWX-0501 | 4 | keep as extra
| 10G-SFPP-TWX-0701 | 4 | round up to 5 | 40G-QSFP-C-0501 | 2 | keep as extra
| 10G-SFPP-SR | 10
| 15m OM3 LC | 2 | order from Amazon
| 35m OM3 LC | 2 | order from Amazon
| 40G-QSFP-AOC-1001 | 1
| 40G-QSFP-SR4 | 4
| 15m MTP | 4 | order from Amazon
I. Short cables
Connection | location 1 | location 2 | What is there right now | Cable Needed | Optics Needed | Did we repurpose the short cables?
'brocade_A1 10G:p41 <-> brocade_A2 10G:p45 10G-SFPP' | 'r4:pa:c2:u41-u41' | 'r5:pa:c3:u41-u41' | Using 7m cable from Chris | 10G-SFPP-TWX-0701 | - | no - extra 10G-SFPP-TWX-0501
'brocade_A1 10G:p42 <-> brocade_A2 10G:p46 10G-SFPP' | 'r4:pa:c2:u41-u41' | 'r5:pa:c3:u41-u41' | Using 7m cable from Chris | 10G-SFPP-TWX-0701 | - | no - extra 10G-SFPP-TWX-0501
'brocade_A1 10G:p43 <-> brocade_A2 10G:p47 10G-SFPP' | 'r4:pa:c2:u41-u41' | 'r5:pa:c3:u41-u41' | Using Brocade 10m | - | - | no - extra 10G-SFPP-TWX-0501
'brocade_A1 10G:p44 <-> brocade_A2 10G:p48 10G-SFPP' | 'r4:pa:c2:u41-u41' | 'r5:pa:c3:u41-u41' | Using Brocade 10m | - | - | no - extra 10G-SFPP-TWX-0501
'brocade_C3 10G:p41 <-> brocade_C4 10G:p45 10G-SFPP' | 'r5:pa:c15:u41-u41' | 'r5:pa:c16:u41-u41' | Using 7m cable from Chris | 10G-SFPP-TWX-0701 | - | used extra 3m for D6<->A1 (Kilo)
'brocade_C3 10G:p42 <-> brocade_C4 10G:p46 10G-SFPP' | 'r5:pa:c15:u41-u41' | 'r5:pa:c16:u41-u41' | Using 7m cable from Chris | 10G-SFPP-TWX-0701 | - | used extra 3m for D6<->A1 (Kilo)
'brocade_C3 10G:p43 <-> brocade_C4 10G:p47 10G-SFPP' | 'r5:pa:c15:u41-u41' | 'r5:pa:c16:u41-u41' | Using Brocade 10m | - | - | used extra 3m for D6<->A1 (Kilo)
'brocade_C3 10G:p44 <-> brocade_C4 10G:p48 10G-SFPP' | 'r5:pa:c15:u41-u41' | 'r5:pa:c16:u41-u41' | Using Brocade 10m | - | - | used extra 3m for D6<->A1 (Kilo)
'brocade_C1 10G:p41 <-> brocade_C2 10G:p45 10G-SFPP' | 'r4:pa:c2:u43-u43' | 'r5:pa:c13:u41-u41' | Using optics from Chris and 15m OM-3 from MOC | - | 10G-SFPP-SR | used extra 10m for A1p43<->A2p47
'brocade_C1 10G:p42 <-> brocade_C2 10G:p46 10G-SFPP' | 'r4:pa:c2:u43-u43' | 'r5:pa:c13:u41-u41' | Using optics from Chris and 15m OM-3 from MOC | - | 10G-SFPP-SR | used extra 10m for A1p44<->A2p48
'brocade_C1 10G:p43 <-> brocade_C2 10G:p47 10G-SFPP' | 'r4:pa:c2:u43-u43' | 'r5:pa:c13:u41-u41' | nothing - missing link | 15m OM3 LC | 10G-SFPP-SR | used extra 10m for C3p43<->C4p47
'brocade_C1 10G:p44 <-> brocade_C2 10G:p48 10G-SFPP' | 'r4:pa:c2:u43-u43' | 'r5:pa:c13:u41-u41' | nothing - missing link | 15m OM3 LC | 10G-SFPP-SR | used extra 10m for C3p44<->C4p48
'brocade_D3 40G:p49 <-> brocade_B3 40G:p50 40G-QFSP+' | 'r5:pa:c6:u41-u41' | 'r5:pa:c21:u41-u41' | Using 20m pre-terminated FDR cable from Chris | 15m MTP | - | used 15m OM3 LC cable for C1p41<->C2p45 (can still use the SR4 optics here)
'brocade_D5 40G:p49 <-> brocade_B5 40G:p50 40G-QFSP+' | 'r5:pa:c2:u41-u41' | 'r5:pa:c19:u41-u41' | Using 20m pre-terminated FDR cable from Chris | 15m MTP | - | used 15m OM3 LC cable for C1p42<->C2p46 (can still use the SR4 optics here)
brocade_C1 40G:p49 <-> brocade_D1 40G:p50 40G-QFSP+ | r4:pa:c2:u43 | r5:pa:c10:u41 | Using 15m pre-terminated FDR cable from Chris | 15m MTP | 40G-QSFP-SR4 | no - but we should use this for A5<->C5
'brocade_D1 40G:p49 <-> brocade_A1 40G:p50 40G-QFSP+' | r5:pa:c10:u41 | r4:pa:c2:u41 | Using 15m pre-terminated FDR cable from Chris | 15m MTP | 40G-QSFP-SR4 | no - but we should use this for B3<->C3
'brocade_A5 40G:p49 <-> brocade_C5 40G:p50 40G-QFSP+' | r5:pa:c9:u41 | r5:pa:c14:u41 | Using 10m pre-terminated FDR cable from Chris | repurpose C1<->D1 | - | no - extra 40G-QSFP-C-0501
'brocade_B3 40G:p49 <-> brocade_C3 40G:p50 40G-QFSP+' | r5:pa:c21:u41 | r5:pa:c15:u41 | Using 10m pre-terminated FDR cable from Chris | repurpose B3<->C3 | - | no - extra 40G-QSFP-C-0501
II. Additional cables
Connection | Cable/Optics Needed | Total Quantity | Do we have something to use here? | To order | Notes
CSAIL <-> Brocade D6 (Kilo) - optics | 10G-SFPP-SR | 1 |  | 1 | Optics already in place on CSAIL side
CSAIL <-> Brocade D6 (Kilo) - cable | 35m OM3 LC | 1 | 35m cable from Chris Hill is in place | 1 | need to order replacement cable for Chris
CSAIL <-> Brocade A1 (or B1 or C1) - optics | 10G-SFPP-SR | 1 |  | 1 | Optics already in place on CSAIL side
CSAIL <-> Brocade A1 (or B1 or C1) - cable | 35m OM3 LC | 1 | 35m cable from Chris Hill is in place | 1 | need to order replacement cable for Chris
Brocade D6 (Kilo) <-> Brocade A1 | 10G-SFPP-TWX-0301 | 1 | used extra 3m from C3<->C4 | 0
Brocade D6 (Kilo) <-> Brocade A1 | 10G-SFPP-TWX-0301 | 1 | used extra 3m from C3<->C4 | 0
Brocade D6 (Kilo) <-> Brocade A1 | 10G-SFPP-TWX-0301 | 1 | used extra 3m from C3<->C4 | 0
Brocade D6 (Kilo) <-> Brocade A1 | 10G-SFPP-TWX-0301 | 1 | used extra 3m from C3<->C4 | 0
Brocade D6 (Kilo) <-> Brocade A6 | 40G-QSFP-AOC-1001 | 1 | no | 1
Quanta Server Qkt1 <-> Brocade A6 | 10G-SFPP-TWX-0301 | 1 | ? | 1 | decided not to use any 5m cables here, will keep those as extras
Quanta Server Qkt2 <-> Brocade A6 | 10G-SFPP-TWX-0301 | 1 | ? | 1
Quanta Server Qkt3 <-> Brocade A6 | 10G-SFPP-TWX-0301 | 1 | ? | 1
Quanta Server Qkt4 <-> Brocade A6 | 10G-SFPP-TWX-0301 | 1 | ? | 1
Quanta Server Qkt5 <-> Brocade A6 | 10G-SFPP-TWX-0301 | 1 | ? | 1
Quanta Server Qkt6 <-> Brocade A6 | 10G-SFPP-TWX-0301 | 1 | ? | 1
Quanta Server Qkt7 <-> Brocade A6 | 10G-SFPP-TWX-0301 | 1 | ? | 1 | This is the server Joe has at home for testing - eventually use for emergency box or additional compute
Quanta Server Qkt9 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0101 | 1 | no | 1 | 1m will work for these
Quanta Server Qkt10<-> Brocade ? (TOR) | 10G-SFPP-TWX-0101 | 1 | no | 1 | These are getting just 1 connection to Brocade for now
Quanta Server Qkt11 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0101 | 1 | no | 1
Lenovo Server 01 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 02 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 03 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 04 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 05 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 06 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 07 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 08 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 09 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2
Lenovo Server 10 <-> Brocade ? (TOR) | 10G-SFPP-TWX-0301 | 2 |  | 2